| WOOD/COAL BURNING STOVE SUPPLEMENTAL INSPECTION FORM | Insured’s Name | Policy No. |
| --- | --- | --- |
| Stove/Furnace Unit | Type | Open Hearth (No doors) | Pot Belly, Box or Franklin (Loose fitting doors) | Airtight (Tight-fitting, draft-limiting doors and seams) |
|  | Construction | Sheet Metal | Cast Iron | Brick Lined | Any Cracks or Broken Parts? Yes No |
|  | Fuel | Wood | Coal | Other (specify): |
|  | Principal Use | Primary Heat Source (More than 50 days/yr.) | Supplemental Heating (Less than 50 days/yr.) | Cooking |
|  | Installed By | Owner | Contractor | Month/Year of Installation |
|  | Inspected By | Building Inspector | Fire Department | Other (specify): |
| Chimney/Chimney Connector (Stove Pipe) | Installation | Stove placed at least 36” from combustible well or furnishings, or 18” from non-combustible shield with 1” air space to combustible wall. | Non-combustible pad or surface below stove, extends at least 18” beyond loading door and 12” beyond side and rear. | Stove legs allow at least 4” air space below stove. |
|  |  | Yes No | Yes No | Yes No |
|  | Type | Masonry | U.L. Listed Metal Chimney |
|  | Cleaned/ Inspected | When last cleaned (Mo./Yr.) | Last inspected (Mo./Yr.) | Are ashes disposed of in a fireproof container? Yes No |
|  | Installation | Passes through non-combustible thimble collar or opening which is at least 12” larger in diameter than stove pipe: | Connector to chimney under 10’ in length: | Galvanized steel pipe: |
|  |  | Yes No | Yes No | Yes No |
|  |  | More than two bonds: | Horizontal portion rises at least ¼” per linear ft. of pipe length so chimney connection point is higher than stove end: | Pipe sections overlap to contain creosote flowback: |
|  |  | Yes No | Yes No | Yes No |
| Recomm- dations |  |